## Role Mapping
Role | Department | Mental model | Responsibilities | Day-to-day actions | Questions to Command Center | Widgets / representations to show | Interaction tools
Executive / Plant Head | Leadership / Operations | On-track vs off-track. Risk, cost impact, compliance. Wants decisions, not raw telemetry. | Own overall plant performance; ensure reliability of utilities; approve high-impact actions; manage cost and compliance. | Review plant health + exceptions each morning/shift; scan critical alarms; check energy cost & peak; approve shutdowns/overrides; review incident/compliance summary. | Are we on track today? ¦ What's broken right now? ¦ What’s the biggest risk in next 4–8 hours? ¦ Any peak demand / energy cost risk? ¦ Any safety incidents or critical alarms? ¦ What decisions are pending my approval? | Plant Health Summary (KPI tiles) • Exceptions & Critical Alerts feed • Plan vs Actual (if available) / Utilization proxy • Peak Demand gauge + forecast • Downtime / Outage cards (ETA, owner) • Energy cost today vs baseline • Safety status banner • Decision queue (approve/ack/escalate) • Drill-down links to line/asset | Acknowledge/assign alert; escalate to maintenance; approve shutdown/load-shed; request root-cause summary; generate/print report
Operations Manager / Production Head | Operations | Flow & continuity. Keep lines running; remove blockers caused by utilities/equipment; fast triage. | Maintain operational continuity; coordinate between production and maintenance/facilities; manage shift performance and constraints. | Monitor line/area status; respond to stoppages caused by power/HVAC/utilities; coordinate changeovers; review recurring issues; communicate priorities to supervisors. | Which areas are down/slow and why? ¦ What’s the bottleneck right now? ¦ Any utility constraint impacting production (air pressure, chiller, power dip)? ¦ What’s the ETA to recover? ¦ Show me top downtime causes today. | Area/Line status tiles • Bottleneck indicator • Downtime timeline + Pareto • Utility constraint panel (air, water, HVAC, power quality) • Recovery ETA cards • Shift notes/handovers • Quick drill to asset runtime panel | Create/assign incident ticket; notify teams; request maintenance dispatch; acknowledge alarms; set priority tags; open runbook/checklist
Shift Supervisor / Line Supervisor | Operations | Here-and-now execution. Alarm → action. Needs simple cues and checklists. | Run the shift; ensure operators follow SOP; respond to alarms; coordinate immediate troubleshooting; ensure logging/handovers. | Start-of-shift checks; monitor alarms; log downtime reasons; verify setpoints; ensure operators on stations; handover notes at shift end. | What alarms are active in my area? ¦ What changed in last 30 minutes? ¦ What should my team do next? ¦ Show machine X health now. ¦ Open shift checklist / handover. | Area-specific alert list (filtered) • Last-30-min event timeline • Machine status cards • SOP/checklist widget • Acknowledge/assign buttons • Quick trend mini-charts for key params • Handover notes panel | Acknowledge alarm; assign to technician; open SOP; log downtime reason; broadcast message to operators
Energy Manager / Utilities Head | Utilities / Energy | Energy as controllable cost. Peak + efficiency + anomalies. Wants attribution by area/asset. | Optimize energy usage and cost; manage peak demand; track efficiency (kWh/unit proxy); coordinate load shifting; sustainability reporting. | Monitor live demand and PF; watch for spikes; compare areas; run peak shaving actions; validate meter data; produce daily/weekly energy report. | Current demand, PF, and peak risk? ¦ Which area is consuming unusually high? ¦ kWh trend today vs yesterday? ¦ Any anomalies or meter faults? ¦ Recommend load-shed options. | Live demand gauge + peak threshold • Load curve (today) • PF/Voltage/THD tiles • Top consumers ranking • kWh/day + cost tiles • Energy anomaly cards • Forecast (end-of-day) • Load-shed playbook panel | Trigger load shedding; adjust schedules (HVAC setpoints); acknowledge energy alarms; export energy report; mark anomaly investigation
Electrical / Power Quality Engineer | Utilities / Electrical | Power quality protects equipment. Needs waveform/trend + incident correlation. | Ensure voltage/frequency within limits; manage harmonic issues; investigate trips; coordinate with utility/DG/UPS; protect critical loads. | Review PQ events; check voltage dips/swells; monitor DG/UPS health; investigate breaker trips; correlate PQ events with equipment faults. | Any voltage dips/swells today? ¦ Which feeder has high harmonics? ¦ UPS/DG status and runtime? ¦ Correlate PQ event with machine alarms at same time. | PQ event log • Voltage/current trend charts • THD/PF indicators • Feeder/Panel health map • UPS/DG tiles (load %, battery %, fuel) • Correlation timeline (PQ + alarms) • Incident replay | Acknowledge PQ event; switch source (EB↔DG/UPS) if permitted; open incident report; annotate event; export waveform snapshot
Facility Manager | Facilities / BMS | Comfort + continuity of building services. Wants zone view + controls + alarm handling. | Operate HVAC, lighting, water, fire systems (view/coordination); ensure building systems uptime; schedule PM for facility assets. | Monitor zone temperatures/humidity; respond to HVAC/chiller alarms; adjust schedules; check pumps/valves; coordinate facility technicians; review daily alarms. | Status of chillers/AHUs? ¦ Any zones out of setpoint? ¦ Any leak/fire/security alarms? ¦ Show me top HVAC energy consumers. ¦ Turn on/off equipment X. | HVAC system overview • Zone heatmap (temp/humidity) • Equipment tiles (chiller/AHU/pump) • BMS alarms feed • Control panel (setpoints, schedules) • Runtime trends • Fault diagnostics card • Maintenance due list | Change setpoint/schedule; acknowledge alarm; put equipment in maintenance mode; dispatch technician; generate facility report
HVAC Technician / Building Technician | Facilities / BMS | Fix the fault fast. Needs root cause hints + exact sensor readings + history. | Troubleshoot and repair HVAC/pumps/valves; ensure zones stay within limits; complete PM checklists; close alarms properly. | Respond to BMS alarms; inspect equipment; verify sensor accuracy; replace filters/belts; check refrigerant; record actions in ticket; run PM checklist. | Why is AHU-3 in fault? ¦ Show last 24h trend for temp/pressure. ¦ Which sensor is out of range? ¦ What did we change before fault? ¦ Open the SOP for this alarm code. | Asset fault card (code + probable causes) • Sensor trend charts (24h/7d) • Setpoint vs actual graph • Alarm history • SOP/checklist panel • Parts/tools notes • Ticket/closure form • Annotated timeline | Acknowledge/reset alarm; start/stop equipment (permissioned); mark checklist steps; add notes/photos; close ticket
Maintenance Manager / Reliability Engineer | Maintenance | Prevent failures. Risk ranking + backlog health + recurring patterns. | Maintain reliability of production and utility assets; plan PM/PdM; manage work orders and spares; improve MTBF/MTTR. | Review predictive alerts; prioritize backlog; schedule shutdown windows; review recurring faults; verify PM compliance; track technician utilization. | Which assets are at risk of failure? ¦ Any new predictive alerts? ¦ What’s overdue? ¦ Top recurring alarms this week? ¦ Show health score for machine X. | Asset health ranking • Predictive alert list • PM compliance % • Backlog board • Recurring alarm Pareto • Asset timeline (faults + interventions) • Spares critical list • MTBF/MTTR tiles | Approve work orders; assign technicians; schedule downtime; request spares; generate reliability report; annotate root cause
Maintenance Technician (Mechanical) | Maintenance | Diagnose → act. Needs clear symptoms, last-known-good, and safe procedures. | Fix mechanical faults; perform PM tasks; capture observations; ensure safe restart; keep records. | Respond to breakdown calls; follow SOP/LOTO; inspect bearings/belts/gearboxes; lubricate; replace parts; log actions; verify after repair. | What exactly is failing and when? ¦ Show vibration/temp trend. ¦ What’s the last maintenance done? ¦ Any similar faults recently? ¦ Open LOTO checklist. | Fault details card • Trend charts (vibration/temp) • Last maintenance log • Similar incidents list • SOP/LOTO checklist • Parts list • Restart verification checklist • Quick notes | Start ticket; add notes; mark checklist; request spare; close ticket with cause code
Maintenance Technician (Electrical/Instrumentation) | Maintenance / Controls | Signals, sensors, and interlocks. Needs tag-level visibility + alarm context. | Fix electrical faults; check sensors/PLCs; calibrate instruments; resolve trips; maintain panels and wiring safety. | Respond to trips; inspect panels; validate sensor readings; calibrate; check PLC IO; reset interlocks; document changes. | Which tag is out of range? ¦ Show alarm sequence for last 10 minutes. ¦ Any communication loss? ¦ What changed before the trip? ¦ Show panel/feeder status. | Alarm sequence timeline • Tag list with current values • Comms health widget • Panel/feeder status tiles • Calibration history • Setpoint/actual charts • Event correlation view | Acknowledge/clear alarms; run comms test; log calibration; open wiring diagram link; create ticket
Safety / EHS Manager | EHS | Zero harm. Needs instant awareness + compliance visibility + traceable actions. | Monitor safety and environmental alarms; manage checklists/audits; handle incidents and corrective actions; compliance reporting. | Review safety alarms; perform rounds/checklists; investigate incidents; track CAPA; ensure training/permits. | Any active safety alarms? ¦ Show environmental conditions in zone X. ¦ Open today’s safety checklist. ¦ Any overdue corrective actions? ¦ Show incident timeline this month. | Safety alarm console (priority) • Environmental sensor panel (gas/temp/smoke/noise) • Checklist compliance % • CAPA action tracker • Incident timeline • Evacuation/response SOP quick access | Acknowledge alarm; broadcast emergency message; start incident report; assign corrective action; attach evidence
Quality Manager (Environment-sensitive processes) | Quality | Conditions affect quality. Needs proof of within-spec and deviation trace. | Ensure environmental conditions within spec for critical zones; respond to excursions; support traceability for audits and customer issues. | Monitor temp/humidity in critical areas; review deviations; place holds if excursions; pull history for audits; coordinate with facilities. | Were conditions within spec during [time/batch]? ¦ Any deviations in last 24h? ¦ Show trend + duration of excursion. ¦ Which zones are drifting? | Zone setpoint vs actual trend • Excursion cards (duration, max deviation) • Audit-ready history export • Zone heatmap • Deviation log with acknowledgements • Notes/attachments | Mark batch/lot impacted (if available); create deviation report; request facility fix; export evidence
Security / Fire & Emergency Response | Security / Safety Systems | Threats and alarms. Needs location + procedure + acknowledgment trail. | Monitor access/security alarms and fire system status; respond to emergencies; coordinate evacuation; maintain logs. | Monitor fire panel status; handle access alerts; verify CCTV/alarms; run drills; maintain incident logs. | Any fire alarms / zones in trouble? ¦ Which door access alarms triggered? ¦ Show evacuation status checklist. ¦ What’s the alarm history today? | Fire system status tiles • Zone-based alarm map • Access alarm feed • Incident log • SOP/evacuation checklist • Acknowledge + escalation tools | Acknowledge/escalate alarm; trigger broadcast; log incident; open emergency SOP
IT/OT Admin (Systems) | IT/OT | Data reliability. Connectivity, uptime, security. Wants diagnostics not ops metrics. | Maintain EMS/BMS platform uptime; monitor device connectivity; manage users/permissions; ensure data integrity and backups. | Check comms health; resolve device offline issues; manage permissions; update configs; audit logs; ensure time sync. | Which devices are offline? ¦ Any data gaps today? ¦ Are meters/sensors reporting correctly? ¦ Any security events? ¦ Show system health. | System health dashboard • Connectivity map (PLC/gateway/meter) • Data quality alarms • Latency/throughput charts • Audit log • User/session monitoring • Backup status | Restart service (if allowed); open diagnostics; run ping/health check; disable user; export logs

## Energy_Manager_UseCases
Scenario / Use-case | Typical Question (Voice / Text) | Required Data (Electrical + Utilities) | Widget / Representation (EMS + BMS) | Drill-down Path | Actions / Controls
Live plant load snapshot | What’s our current load? Show live kW. | Plant kW, feeder kW, EB/DG/Solar status | KPI cards + Real-time line chart + Current value list | Plant → Unit → Feeder | View only
Peak demand risk | Are we nearing peak today or this month? | Current kW, peak kW, contracted demand, thresholds | Peak KPI card + Gauge + Forecast sparkline | Plant → Peak detail → Feeder contributors | Enable peak mode / Suggest load-shedding
Spike root-cause analysis | Why did demand spike at this time? | Time-series per feeder, event & alarm logs | Highlighted trend chart + ΔkW ranking + event timeline | Plant → Time window → Feeder → Asset | Create incident / Notify owner
Top energy consumers | Which are the top consumers right now? | kWh/kW by feeder/department | Ranking table + clickable rows | Plant → Department → Feeder | View only
Energy distribution by area | Show energy by phase or area. | kWh by phase/area, time range | Stacked bar chart with Day/Week/Month toggle | Plant → Phase → Sub-meter | View only
Source split EB / DG / Solar | How much power from EB vs DG vs Solar? | Source kW/kWh, DG & solar status | Stacked area chart + monthly bars + source tiles | Plant → Source → Asset | Start/Stop DG (role gated)
Cost analysis | Why is energy cost high today? | Tariff, TOD slabs, PF penalty, kWh | Cost KPI + stacked cost breakdown | Plant → Cost breakdown → Time range | Generate cost report
Power factor monitoring | Are we in PF penalty zone? | Plant & feeder PF, capacitor bank status | PF KPI tile + PF trend + worst feeders list | Plant → Feeder PF → Capacitor bank | Capacitor bank control
Voltage dips / swells | Any voltage dips or swells today? | Voltage, frequency, PQ event logs | PQ alerts panel + event timeline + trend chart | Plant → PQ event → Feeder | Export PQ evidence
Harmonics monitoring | Where are harmonics high? | V/I THD, unbalance per feeder | THD heatmap + trend chart | Plant → Feeder → Harmonics | Notify electrical team
UPS health monitoring | Is UPS ready? What’s runtime? | UPS load %, battery %, alarms | UPS status tiles + battery trend | Plant → UPS → Load | Run UPS self-test
DG readiness & transfer | Any DG transfer events? | DG status, load %, ATS events | DG tiles + transfer event log | Plant → ATS → DG | Schedule DG test
HVAC energy driver | Why HVAC load high today? | Chiller kW, CHW temps, COP | HVAC summary cards + kW vs temp trend | Plant → Chiller → Zone | Adjust HVAC setpoint
Zone comfort deviation | Which zones are out of setpoint? | Zone temp/humidity vs setpoint | Zone heatmap + deviation alerts | Plant → Building → Zone | Override setpoint
Compressed air leakage | Is there a compressed air leak? | Pressure, flow, compressor kW | Pressure trend + leak indicator tile | Plant → Air system → Compressor | Start standby compressor
Water usage anomaly | Any abnormal water usage? | Water flow, tank levels, pump status | Usage trend + tank gauge + pump tiles | Plant → Water system → Pump | Shut valve / Dispatch maintenance
Daily energy summary | Summarize today’s energy events. | Anomalies, peaks, PQ events | Daily insights panel + event timeline | Plant → Insight → Detail | Generate daily report
Unit comparison | Compare P1 vs P2 energy this week. | kWh/kW by unit | Side-by-side comparison charts | Plant → Unit compare | Export comparison
Alert triage | What’s critical right now? | Severity rules, thresholds, alarms | Filtered alerts panel + pinned cards | Plant → Alert → System | Acknowledge / Escalate
Monthly EMS + BMS reporting | Generate monthly EMS/BMS report. | Aggregated energy, cost, PF, PQ, utilities | Generate report button + status alert | Reports → Template → Time range | Download / Share report

## System Groups
System Group | Assets included (from sheet) | What it does (Plain English) | Category | EMS Ownership | BMS Ownership
Backup Power & Source Switching | AMF PANEL-1, AMF PANEL-2, AMF PANEL-3, AMF PANEL-4, AMF PANEL-5, AMF PANEL-6, AMF PANEL-7 | Keeps power available during outages (avoids sudden shutdown). | Utilities – Electrical | Yes (energy impact) | No
Compressed Air System | Dryer-1, Comp-1, Dryer-2, Comp-2 | Provides pressurized air used by many machines and valves. | Utilities – Mechanical (Compressed Air) | Yes (energy impact) | Yes (operational visibility)
Cooling Systems (Chiller / Heat Rejection) | Chiller-1, Chiller-2, Chiller-3, Chiller-4, Chiller-5, Cooling Tower Drains | Removes heat so machines and HVAC stay stable. | Utilities – Mechanical (Chilled Water / Cooling) | Yes (energy impact) | Yes (operational visibility)
Critical Power (UPS) |  | Protects critical controls/IT so the plant doesn’t crash on power dips. | Utilities – Electrical | Yes (energy impact) | No
Electrical Distribution (Local) | CELL LT PANEL-1, CELL LT PANEL-2A, CELL LT PANEL-2B, CELL LT PANEL-3A, CELL LT PANEL-3B, Cluster-7 | Delivers power closer to loads; helps isolate faults quickly. | Utilities – Electrical | Yes (energy impact) | No
Electrical Distribution (Main LT) | MAIN PANEL-1, MAIN PANEL-2, MAIN PANEL-3, MAIN PANEL-4, MAIN PANEL-5, MAIN PANEL-6, MAIN PANEL-7 | Splits power to major plant sections so everything can run. | Utilities – Electrical | Yes (energy impact) | No
Electrical Source & HT Infrastructure | HT-1, HT-2, HT-3 | Brings electricity into the factory safely and reliably. | Utilities – Electrical | Yes (energy impact) | No
HVAC Air Handling | AHU PANEL-1, AHU PANEL-2, AHU PANEL-3, AHU 1,2,3,4, AHU 5,6,7, AHU 8,9,10,11, AHU 12,13,14,15 | Maintains air quality and temperature for people and products. | HVAC | Yes (energy impact) | Yes (operational visibility)
Nitrogen Generation & Supply | Nitrogen Flow Meter-1, Nitrogen Flow Meter-2, Nitrogen Pressure-1, Nitrogen Pressure-2 | Supplies inert gas used for safety/quality in many processes. | Utilities – Mechanical (Nitrogen System) | Indirect / No | Yes (operational visibility)
Other Utilities Monitoring | Flow Meter | Additional plant support monitoring points. | Utilities – Mechanical | Indirect / No | Yes (operational visibility)
Scrubbers & EHS Systems | M/C 15 Scrubbers 11Nos | Controls emissions and protects people/environment. | Utilities – Mechanical (EHS / Pollution Control) | Yes (energy impact) | Yes (operational visibility)
Water Systems (Transfer / Treatment / Recovery) | Pump-1 (to Utilities), Pump-2 (to Admin Building), Pump-3 (to Eye/Body wash), Pump-4 (to Shed B Utilities), Tank Level Switches, Pump-1 (to Tanks), Pump-2 (to Utilities), Pump-3 (to Admin Building), Pump-4 (Tank to Admin Building), Pump-5 (Tank to Earth Pits), From DI to Makeup Tanks, Makeup Tank to RO Water, DI Plant to Scrubbers, Condensated Lines, Rain Water, Circulation Pumps 2 (Head 35M) with VFD, Circulation Pumps 2 (Head 57M) with VFD, Circulation Pumps 3 Nos (Head 120M) with VFD PCW, Circulation Pumps 2 Nos with VFD | Moves and treats water needed for utilities and operations. | Utilities – Mechanical (Water / Circulation) | Yes (energy impact) | Yes (operational visibility)

## Assets (Detailed)
System Group | Included Asset (as named in sheet) | Primary Purpose (Plain English) | Why Industry Needs It + Analogy | Category | EMS Ownership | BMS Ownership
Electrical Source & HT Infrastructure | HT-1 | Receives high-voltage power from the utility (grid entry point) | Why industry needs it: - High-voltage power must be handled safely before entering the plant - Allows isolation during faults and maintenance - Improves reliability of power supply to the entire facility Analogy: Main water pipe entering an apartment building. | Utilities – Electrical | Yes (source load, demand, power quality) | No
Backup Power & Source Switching | AMF PANEL-1 | Automatically switches between grid power and DG backup | Why industry needs it: - Prevents sudden plant-wide power loss when grid fails - Enables uninterrupted operation during outages - Reduces manual switching errors and downtime risk Analogy: An automatic inverter switch for the whole factory. | Utilities – Electrical | Yes (source switching impact, demand, runtime energy) | No
Electrical Source & HT Infrastructure | HT-2 | Receives high-voltage power from the utility (grid entry point) | Why industry needs it: - High-voltage power must be handled safely before entering the plant - Allows isolation during faults and maintenance - Improves reliability of power supply to the entire facility Analogy: Main water pipe entering an apartment building. | Utilities – Electrical | Yes (source load, demand, power quality) | No
Backup Power & Source Switching | AMF PANEL-2 | Automatically switches between grid power and DG backup | Why industry needs it: - Prevents sudden plant-wide power loss when grid fails - Enables uninterrupted operation during outages - Reduces manual switching errors and downtime risk Analogy: An automatic inverter switch for the whole factory. | Utilities – Electrical | Yes (source switching impact, demand, runtime energy) | No
Backup Power & Source Switching | AMF PANEL-3 | Automatically switches between grid power and DG backup | Why industry needs it: - Prevents sudden plant-wide power loss when grid fails - Enables uninterrupted operation during outages - Reduces manual switching errors and downtime risk Analogy: An automatic inverter switch for the whole factory. | Utilities – Electrical | Yes (source switching impact, demand, runtime energy) | No
Electrical Distribution (Main LT) | MAIN PANEL-1 | Main low-voltage distribution hub for sections of the plant | Why industry needs it: - Splits electricity safely to different plant sections - Allows isolating a section during faults or maintenance - Enables energy monitoring by area/department Analogy: The main circuit board of a large building. | Utilities – Electrical | Yes (panel load, energy flow, peaks) | No
Electrical Distribution (Main LT) | MAIN PANEL-2 | Main low-voltage distribution hub for sections of the plant | Why industry needs it: - Splits electricity safely to different plant sections - Allows isolating a section during faults or maintenance - Enables energy monitoring by area/department Analogy: The main circuit board of a large building. | Utilities – Electrical | Yes (panel load, energy flow, peaks) | No
Electrical Distribution (Main LT) | MAIN PANEL-3 | Main low-voltage distribution hub for sections of the plant | Why industry needs it: - Splits electricity safely to different plant sections - Allows isolating a section during faults or maintenance - Enables energy monitoring by area/department Analogy: The main circuit board of a large building. | Utilities – Electrical | Yes (panel load, energy flow, peaks) | No
Critical Power (UPS) | CELL UPS IO PANEL-1 | Distributes backup/conditioned power to critical systems | Why industry needs it: - Protects sensitive systems from sudden shutdown and voltage dips - Maintains PLCs, IT, and instrumentation continuity - Prevents data loss and process disruptions Analogy: A battery backup system for the factory’s ‘brain’ devices. | Utilities – Electrical | Yes (critical load energy, backup load monitoring) | No
Electrical Distribution (Local) | CELL LT PANEL-1 | Local electrical distribution for a zone or machine group | Why industry needs it: - Reduces long cable runs and improves safety - Makes it easier to pinpoint where energy is consumed - Allows local isolation without shutting down the whole plant Analogy: A room-wise electrical switchboard. | Utilities – Electrical | Yes (localized energy monitoring) | No
Critical Power (UPS) | UPS LT Panel-3 | Distributes backup/conditioned power to critical systems | Why industry needs it: - Protects sensitive systems from sudden shutdown and voltage dips - Maintains PLCs, IT, and instrumentation continuity - Prevents data loss and process disruptions Analogy: A battery backup system for the factory’s ‘brain’ devices. | Utilities – Electrical | Yes (critical load energy, backup load monitoring) | No
Electrical Distribution (Local) | CELL LT PANEL-2A | Local electrical distribution for a zone or machine group | Why industry needs it: - Reduces long cable runs and improves safety - Makes it easier to pinpoint where energy is consumed - Allows local isolation without shutting down the whole plant Analogy: A room-wise electrical switchboard. | Utilities – Electrical | Yes (localized energy monitoring) | No
Critical Power (UPS) | UPS LT Panel-2 | Distributes backup/conditioned power to critical systems | Why industry needs it: - Protects sensitive systems from sudden shutdown and voltage dips - Maintains PLCs, IT, and instrumentation continuity - Prevents data loss and process disruptions Analogy: A battery backup system for the factory’s ‘brain’ devices. | Utilities – Electrical | Yes (critical load energy, backup load monitoring) | No
Electrical Distribution (Local) | CELL LT PANEL-2B | Local electrical distribution for a zone or machine group | Why industry needs it: - Reduces long cable runs and improves safety - Makes it easier to pinpoint where energy is consumed - Allows local isolation without shutting down the whole plant Analogy: A room-wise electrical switchboard. | Utilities – Electrical | Yes (localized energy monitoring) | No
Electrical Distribution (Local) | CELL LT PANEL-3A | Local electrical distribution for a zone or machine group | Why industry needs it: - Reduces long cable runs and improves safety - Makes it easier to pinpoint where energy is consumed - Allows local isolation without shutting down the whole plant Analogy: A room-wise electrical switchboard. | Utilities – Electrical | Yes (localized energy monitoring) | No
Electrical Distribution (Local) | CELL LT PANEL-3B | Local electrical distribution for a zone or machine group | Why industry needs it: - Reduces long cable runs and improves safety - Makes it easier to pinpoint where energy is consumed - Allows local isolation without shutting down the whole plant Analogy: A room-wise electrical switchboard. | Utilities – Electrical | Yes (localized energy monitoring) | No
HVAC Air Handling | AHU PANEL-1 | Electrical panel feeding HVAC equipment (AHU) | Why industry needs it: - Separates HVAC loads from other plant loads for clarity - Helps track HVAC energy and detect abnormal consumption - Enables safe isolation/maintenance of HVAC electrical circuits Analogy: A dedicated circuit breaker board just for AC units. | HVAC (Electrical Sub-panel) | Yes (HVAC electrical load & energy) | No (panel itself is distribution)
Electrical Source & HT Infrastructure | HT-3 | Receives high-voltage power from the utility (grid entry point) | Why industry needs it: - High-voltage power must be handled safely before entering the plant - Allows isolation during faults and maintenance - Improves reliability of power supply to the entire facility Analogy: Main water pipe entering an apartment building. | Utilities – Electrical | Yes (source load, demand, power quality) | No
Backup Power & Source Switching | AMF PANEL-4 | Automatically switches between grid power and DG backup | Why industry needs it: - Prevents sudden plant-wide power loss when grid fails - Enables uninterrupted operation during outages - Reduces manual switching errors and downtime risk Analogy: An automatic inverter switch for the whole factory. | Utilities – Electrical | Yes (source switching impact, demand, runtime energy) | No
Backup Power & Source Switching | AMF PANEL-5 | Automatically switches between grid power and DG backup | Why industry needs it: - Prevents sudden plant-wide power loss when grid fails - Enables uninterrupted operation during outages - Reduces manual switching errors and downtime risk Analogy: An automatic inverter switch for the whole factory. | Utilities – Electrical | Yes (source switching impact, demand, runtime energy) | No
Backup Power & Source Switching | AMF PANEL-6 | Automatically switches between grid power and DG backup | Why industry needs it: - Prevents sudden plant-wide power loss when grid fails - Enables uninterrupted operation during outages - Reduces manual switching errors and downtime risk Analogy: An automatic inverter switch for the whole factory. | Utilities – Electrical | Yes (source switching impact, demand, runtime energy) | No
Backup Power & Source Switching | AMF PANEL-7 | Automatically switches between grid power and DG backup | Why industry needs it: - Prevents sudden plant-wide power loss when grid fails - Enables uninterrupted operation during outages - Reduces manual switching errors and downtime risk Analogy: An automatic inverter switch for the whole factory. | Utilities – Electrical | Yes (source switching impact, demand, runtime energy) | No
Electrical Distribution (Main LT) | MAIN PANEL-4 | Main low-voltage distribution hub for sections of the plant | Why industry needs it: - Splits electricity safely to different plant sections - Allows isolating a section during faults or maintenance - Enables energy monitoring by area/department Analogy: The main circuit board of a large building. | Utilities – Electrical | Yes (panel load, energy flow, peaks) | No
Electrical Distribution (Main LT) | MAIN PANEL-5 | Main low-voltage distribution hub for sections of the plant | Why industry needs it: - Splits electricity safely to different plant sections - Allows isolating a section during faults or maintenance - Enables energy monitoring by area/department Analogy: The main circuit board of a large building. | Utilities – Electrical | Yes (panel load, energy flow, peaks) | No
Electrical Distribution (Main LT) | MAIN PANEL-6 | Main low-voltage distribution hub for sections of the plant | Why industry needs it: - Splits electricity safely to different plant sections - Allows isolating a section during faults or maintenance - Enables energy monitoring by area/department Analogy: The main circuit board of a large building. | Utilities – Electrical | Yes (panel load, energy flow, peaks) | No
Electrical Distribution (Main LT) | MAIN PANEL-7 | Main low-voltage distribution hub for sections of the plant | Why industry needs it: - Splits electricity safely to different plant sections - Allows isolating a section during faults or maintenance - Enables energy monitoring by area/department Analogy: The main circuit board of a large building. | Utilities – Electrical | Yes (panel load, energy flow, peaks) | No
Critical Power (UPS) | CELL UPS OI PANEL-2 | Distributes backup/conditioned power to critical systems | Why industry needs it: - Protects sensitive systems from sudden shutdown and voltage dips - Maintains PLCs, IT, and instrumentation continuity - Prevents data loss and process disruptions Analogy: A battery backup system for the factory’s ‘brain’ devices. | Utilities – Electrical | Yes (critical load energy, backup load monitoring) | No
HVAC Air Handling | AHU PANEL-2 | Electrical panel feeding HVAC equipment (AHU) | Why industry needs it: - Separates HVAC loads from other plant loads for clarity - Helps track HVAC energy and detect abnormal consumption - Enables safe isolation/maintenance of HVAC electrical circuits Analogy: A dedicated circuit breaker board just for AC units. | HVAC (Electrical Sub-panel) | Yes (HVAC electrical load & energy) | No (panel itself is distribution)
Electrical Distribution (Local) | Cluster-7 | Local electrical distribution for a zone or machine group | Why industry needs it: - Reduces long cable runs and improves safety - Makes it easier to pinpoint where energy is consumed - Allows local isolation without shutting down the whole plant Analogy: A room-wise electrical switchboard. | Utilities – Electrical | Yes (localized energy monitoring) | No
Critical Power (UPS) | UPS LT Panel-1 | Distributes backup/conditioned power to critical systems | Why industry needs it: - Protects sensitive systems from sudden shutdown and voltage dips - Maintains PLCs, IT, and instrumentation continuity - Prevents data loss and process disruptions Analogy: A battery backup system for the factory’s ‘brain’ devices. | Utilities – Electrical | Yes (critical load energy, backup load monitoring) | No
HVAC Air Handling | AHU PANEL-3 | Electrical panel feeding HVAC equipment (AHU) | Why industry needs it: - Separates HVAC loads from other plant loads for clarity - Helps track HVAC energy and detect abnormal consumption - Enables safe isolation/maintenance of HVAC electrical circuits Analogy: A dedicated circuit breaker board just for AC units. | HVAC (Electrical Sub-panel) | Yes (HVAC electrical load & energy) | No (panel itself is distribution)
Nitrogen Generation & Supply | Nitrogen Flow Meter-1 | Measures nitrogen flow rate | Why industry needs it: - Nitrogen is used for inerting, purging, and preventing oxidation - Flow monitoring ensures enough nitrogen is supplied - Helps detect leaks and abnormal consumption Analogy: A water meter, but for nitrogen gas. | Utilities – Mechanical (Nitrogen System) | No (sensor; energy is elsewhere) | Yes (process utility monitoring)
Nitrogen Generation & Supply | Nitrogen Flow Meter-2 | Measures nitrogen flow rate | Why industry needs it: - Nitrogen is used for inerting, purging, and preventing oxidation - Flow monitoring ensures enough nitrogen is supplied - Helps detect leaks and abnormal consumption Analogy: A water meter, but for nitrogen gas. | Utilities – Mechanical (Nitrogen System) | No (sensor; energy is elsewhere) | Yes (process utility monitoring)
Nitrogen Generation & Supply | Nitrogen Pressure-1 | Measures nitrogen pressure | Why industry needs it: - Stable pressure is required for consistent gas delivery - Low pressure can stop processes or cause quality issues - Helps identify regulator/pipeline problems early Analogy: A pressure gauge for a gas pipeline. | Utilities – Mechanical (Nitrogen System) | No (sensor; energy is elsewhere) | Yes (process utility monitoring)
Nitrogen Generation & Supply | Nitrogen Pressure-2 | Measures nitrogen pressure | Why industry needs it: - Stable pressure is required for consistent gas delivery - Low pressure can stop processes or cause quality issues - Helps identify regulator/pipeline problems early Analogy: A pressure gauge for a gas pipeline. | Utilities – Mechanical (Nitrogen System) | No (sensor; energy is elsewhere) | Yes (process utility monitoring)
Compressed Air System | Dryer-1 | Removes moisture from compressed air | Why industry needs it: - Moist air causes rust in pipelines and tools - Moisture can lead to valve failures and sticking actuators - Moist air can contaminate sensitive products/processes Analogy: A dehumidifier for air used by machines. | Utilities – Mechanical (Compressed Air) | Indirect (small load; main energy is compressor) | Yes (dew point, status, alarms)
Compressed Air System | Comp-1 | Air compressor producing compressed air for tools and machines | Why industry needs it: - Compressed air powers pneumatic tools, cylinders, valves, and automation - Many production machines cannot run without stable air supply - Air system issues can stop multiple lines at once Analogy: A heart pumping pressurized air for the factory. | Utilities – Mechanical (Compressed Air) | Yes (major energy consumer) | Yes (pressure, temp, run/load, health)
Compressed Air System | Dryer-2 | Removes moisture from compressed air | Why industry needs it: - Moist air causes rust in pipelines and tools - Moisture can lead to valve failures and sticking actuators - Moist air can contaminate sensitive products/processes Analogy: A dehumidifier for air used by machines. | Utilities – Mechanical (Compressed Air) | Indirect (small load; main energy is compressor) | Yes (dew point, status, alarms)
Compressed Air System | Comp-2 | Air compressor producing compressed air for tools and machines | Why industry needs it: - Compressed air powers pneumatic tools, cylinders, valves, and automation - Many production machines cannot run without stable air supply - Air system issues can stop multiple lines at once Analogy: A heart pumping pressurized air for the factory. | Utilities – Mechanical (Compressed Air) | Yes (major energy consumer) | Yes (pressure, temp, run/load, health)
Cooling Systems (Chiller / Heat Rejection) | Chiller-1 | Produces chilled water for cooling (HVAC or process) | Why industry needs it: - Removes heat to keep equipment/processes stable - Supports HVAC comfort and/or process cooling demands - Prevents overheating-related downtime and quality drift Analogy: A large refrigerator plant cooling water for the factory. | Utilities – Mechanical (Chilled Water / Cooling) | Yes (high energy consumer) | Yes (temps, pressures, status, alarms)
Cooling Systems (Chiller / Heat Rejection) | Chiller-2 | Produces chilled water for cooling (HVAC or process) | Why industry needs it: - Removes heat to keep equipment/processes stable - Supports HVAC comfort and/or process cooling demands - Prevents overheating-related downtime and quality drift Analogy: A large refrigerator plant cooling water for the factory. | Utilities – Mechanical (Chilled Water / Cooling) | Yes (high energy consumer) | Yes (temps, pressures, status, alarms)
Cooling Systems (Chiller / Heat Rejection) | Chiller-3 | Produces chilled water for cooling (HVAC or process) | Why industry needs it: - Removes heat to keep equipment/processes stable - Supports HVAC comfort and/or process cooling demands - Prevents overheating-related downtime and quality drift Analogy: A large refrigerator plant cooling water for the factory. | Utilities – Mechanical (Chilled Water / Cooling) | Yes (high energy consumer) | Yes (temps, pressures, status, alarms)
Cooling Systems (Chiller / Heat Rejection) | Chiller-4 | Produces chilled water for cooling (HVAC or process) | Why industry needs it: - Removes heat to keep equipment/processes stable - Supports HVAC comfort and/or process cooling demands - Prevents overheating-related downtime and quality drift Analogy: A large refrigerator plant cooling water for the factory. | Utilities – Mechanical (Chilled Water / Cooling) | Yes (high energy consumer) | Yes (temps, pressures, status, alarms)
Cooling Systems (Chiller / Heat Rejection) | Chiller-5 | Produces chilled water for cooling (HVAC or process) | Why industry needs it: - Removes heat to keep equipment/processes stable - Supports HVAC comfort and/or process cooling demands - Prevents overheating-related downtime and quality drift Analogy: A large refrigerator plant cooling water for the factory. | Utilities – Mechanical (Chilled Water / Cooling) | Yes (high energy consumer) | Yes (temps, pressures, status, alarms)
HVAC Air Handling | AHU 1,2,3,4 | Air Handling Unit (moves and conditions air for zones) | Why industry needs it: - Maintains comfortable and safe working conditions - In some industries it protects product quality (humidity/temperature control) - Ensures ventilation and air quality compliance Analogy: Central AC unit for large factory zones. | HVAC | Yes (HVAC energy load) | Yes (temperature, airflow, humidity, status)
HVAC Air Handling | AHU 5,6,7 | Air Handling Unit (moves and conditions air for zones) | Why industry needs it: - Maintains comfortable and safe working conditions - In some industries it protects product quality (humidity/temperature control) - Ensures ventilation and air quality compliance Analogy: Central AC unit for large factory zones. | HVAC | Yes (HVAC energy load) | Yes (temperature, airflow, humidity, status)
HVAC Air Handling | AHU 8,9,10,11 | Air Handling Unit (moves and conditions air for zones) | Why industry needs it: - Maintains comfortable and safe working conditions - In some industries it protects product quality (humidity/temperature control) - Ensures ventilation and air quality compliance Analogy: Central AC unit for large factory zones. | HVAC | Yes (HVAC energy load) | Yes (temperature, airflow, humidity, status)
HVAC Air Handling | AHU 12,13,14,15 | Air Handling Unit (moves and conditions air for zones) | Why industry needs it: - Maintains comfortable and safe working conditions - In some industries it protects product quality (humidity/temperature control) - Ensures ventilation and air quality compliance Analogy: Central AC unit for large factory zones. | HVAC | Yes (HVAC energy load) | Yes (temperature, airflow, humidity, status)
Water Systems (Transfer / Treatment / Recovery) | Pump-1 (to Utilities) | Moves water between tanks, utilities, and building systems | Why industry needs it: - Water movement is required for cooling, treatment, and distribution - Keeps utilities running (cooling, RO/DI supply, building needs) - Prevents process interruptions due to low flow/pressure Analogy: A booster motor moving water through pipes. | Utilities – Mechanical (Water / Circulation) | Yes (pump motor energy, if metered) | Yes (status, flow/pressure if instrumented)
Water Systems (Transfer / Treatment / Recovery) | Pump-2 (to Admin Building) | Moves water between tanks, utilities, and building systems | Why industry needs it: - Water movement is required for cooling, treatment, and distribution - Keeps utilities running (cooling, RO/DI supply, building needs) - Prevents process interruptions due to low flow/pressure Analogy: A booster motor moving water through pipes. | Utilities – Mechanical (Water / Circulation) | Yes (pump motor energy, if metered) | Yes (status, flow/pressure if instrumented)
Water Systems (Transfer / Treatment / Recovery) | Pump-3 (to Eye/Body wash) | Moves water between tanks, utilities, and building systems | Why industry needs it: - Water movement is required for cooling, treatment, and distribution - Keeps utilities running (cooling, RO/DI supply, building needs) - Prevents process interruptions due to low flow/pressure Analogy: A booster motor moving water through pipes. | Utilities – Mechanical (Water / Circulation) | Yes (pump motor energy, if metered) | Yes (status, flow/pressure if instrumented)
Water Systems (Transfer / Treatment / Recovery) | Pump-4 (to Shed B Utilities) | Moves water between tanks, utilities, and building systems | Why industry needs it: - Water movement is required for cooling, treatment, and distribution - Keeps utilities running (cooling, RO/DI supply, building needs) - Prevents process interruptions due to low flow/pressure Analogy: A booster motor moving water through pipes. | Utilities – Mechanical (Water / Circulation) | Yes (pump motor energy, if metered) | Yes (status, flow/pressure if instrumented)
Water Systems (Transfer / Treatment / Recovery) | Tank Level Switches | Water treatment / transfer point supporting utilities and processes | Why industry needs it: - Ensures reliable water supply for utilities and processes - Supports reuse/recovery (condensate, rain water) to reduce cost - Helps maintain water quality and prevent scaling/corrosion Analogy: Plumbing network that keeps clean water available everywhere. | Utilities – Mechanical (Water Systems) | No / Indirect (unless pumps are metered) | Yes (flow/level/quality monitoring where available)
Other Utilities Monitoring | Flow Meter | Plant support asset / monitoring point | Why industry needs it: - Supports continuous operation of plant utilities - Helps detect abnormal operating conditions early - Improves reliability and reduces downtime risk Analogy: A sensor or support unit that keeps the factory running smoothly. | Utilities – Mechanical | No / Indirect | Yes
Water Systems (Transfer / Treatment / Recovery) | Pump-1 (to Tanks) | Moves water between tanks, utilities, and building systems | Why industry needs it: - Water movement is required for cooling, treatment, and distribution - Keeps utilities running (cooling, RO/DI supply, building needs) - Prevents process interruptions due to low flow/pressure Analogy: A booster motor moving water through pipes. | Utilities – Mechanical (Water / Circulation) | Yes (pump motor energy, if metered) | Yes (status, flow/pressure if instrumented)
Water Systems (Transfer / Treatment / Recovery) | Pump-2 (to Utilities) | Moves water between tanks, utilities, and building systems | Why industry needs it: - Water movement is required for cooling, treatment, and distribution - Keeps utilities running (cooling, RO/DI supply, building needs) - Prevents process interruptions due to low flow/pressure Analogy: A booster motor moving water through pipes. | Utilities – Mechanical (Water / Circulation) | Yes (pump motor energy, if metered) | Yes (status, flow/pressure if instrumented)
Water Systems (Transfer / Treatment / Recovery) | Pump-3 (to Admin Building) | Moves water between tanks, utilities, and building systems | Why industry needs it: - Water movement is required for cooling, treatment, and distribution - Keeps utilities running (cooling, RO/DI supply, building needs) - Prevents process interruptions due to low flow/pressure Analogy: A booster motor moving water through pipes. | Utilities – Mechanical (Water / Circulation) | Yes (pump motor energy, if metered) | Yes (status, flow/pressure if instrumented)
Water Systems (Transfer / Treatment / Recovery) | Pump-4 (Tank to Admin Building) | Moves water between tanks, utilities, and building systems | Why industry needs it: - Water movement is required for cooling, treatment, and distribution - Keeps utilities running (cooling, RO/DI supply, building needs) - Prevents process interruptions due to low flow/pressure Analogy: A booster motor moving water through pipes. | Utilities – Mechanical (Water / Circulation) | Yes (pump motor energy, if metered) | Yes (status, flow/pressure if instrumented)
Water Systems (Transfer / Treatment / Recovery) | Pump-5 (Tank to Earth Pits) | Moves water between tanks, utilities, and building systems | Why industry needs it: - Water movement is required for cooling, treatment, and distribution - Keeps utilities running (cooling, RO/DI supply, building needs) - Prevents process interruptions due to low flow/pressure Analogy: A booster motor moving water through pipes. | Utilities – Mechanical (Water / Circulation) | Yes (pump motor energy, if metered) | Yes (status, flow/pressure if instrumented)
Water Systems (Transfer / Treatment / Recovery) | From DI to Makeup Tanks | Water treatment / transfer point supporting utilities and processes | Why industry needs it: - Ensures reliable water supply for utilities and processes - Supports reuse/recovery (condensate, rain water) to reduce cost - Helps maintain water quality and prevent scaling/corrosion Analogy: Plumbing network that keeps clean water available everywhere. | Utilities – Mechanical (Water Systems) | No / Indirect (unless pumps are metered) | Yes (flow/level/quality monitoring where available)
Water Systems (Transfer / Treatment / Recovery) | Makeup Tank to RO Water | Water treatment / transfer point supporting utilities and processes | Why industry needs it: - Ensures reliable water supply for utilities and processes - Supports reuse/recovery (condensate, rain water) to reduce cost - Helps maintain water quality and prevent scaling/corrosion Analogy: Plumbing network that keeps clean water available everywhere. | Utilities – Mechanical (Water Systems) | No / Indirect (unless pumps are metered) | Yes (flow/level/quality monitoring where available)
Water Systems (Transfer / Treatment / Recovery) | DI Plant to Scrubbers | Water treatment / transfer point supporting utilities and processes | Why industry needs it: - Ensures reliable water supply for utilities and processes - Supports reuse/recovery (condensate, rain water) to reduce cost - Helps maintain water quality and prevent scaling/corrosion Analogy: Plumbing network that keeps clean water available everywhere. | Utilities – Mechanical (Water Systems) | No / Indirect (unless pumps are metered) | Yes (flow/level/quality monitoring where available)
Water Systems (Transfer / Treatment / Recovery) | Condensated Lines | Water treatment / transfer point supporting utilities and processes | Why industry needs it: - Ensures reliable water supply for utilities and processes - Supports reuse/recovery (condensate, rain water) to reduce cost - Helps maintain water quality and prevent scaling/corrosion Analogy: Plumbing network that keeps clean water available everywhere. | Utilities – Mechanical (Water Systems) | No / Indirect (unless pumps are metered) | Yes (flow/level/quality monitoring where available)
Cooling Systems (Chiller / Heat Rejection) | Cooling Tower Drains | Rejects heat from cooling systems to the atmosphere | Why industry needs it: - Allows chillers/process cooling to remove heat efficiently - Improves overall cooling system performance - Prevents overheating and cooling failures Analogy: A radiator outside the building dumping heat. | Utilities – Mechanical (Heat Rejection) | Yes (fans/pumps energy) | Yes (temps, status, alarms)
Water Systems (Transfer / Treatment / Recovery) | Rain Water | Water treatment / transfer point supporting utilities and processes | Why industry needs it: - Ensures reliable water supply for utilities and processes - Supports reuse/recovery (condensate, rain water) to reduce cost - Helps maintain water quality and prevent scaling/corrosion Analogy: Plumbing network that keeps clean water available everywhere. | Utilities – Mechanical (Water Systems) | No / Indirect (unless pumps are metered) | Yes (flow/level/quality monitoring where available)
Water Systems (Transfer / Treatment / Recovery) | Circulation Pumps 2 (Head 35M) with VFD | Moves water between tanks, utilities, and building systems | Why industry needs it: - Water movement is required for cooling, treatment, and distribution - Keeps utilities running (cooling, RO/DI supply, building needs) - Prevents process interruptions due to low flow/pressure Analogy: A booster motor moving water through pipes. | Utilities – Mechanical (Water / Circulation) | Yes (pump motor energy, if metered) | Yes (status, flow/pressure if instrumented)
Water Systems (Transfer / Treatment / Recovery) | Circulation Pumps 2 (Head 57M) with VFD | Moves water between tanks, utilities, and building systems | Why industry needs it: - Water movement is required for cooling, treatment, and distribution - Keeps utilities running (cooling, RO/DI supply, building needs) - Prevents process interruptions due to low flow/pressure Analogy: A booster motor moving water through pipes. | Utilities – Mechanical (Water / Circulation) | Yes (pump motor energy, if metered) | Yes (status, flow/pressure if instrumented)
Water Systems (Transfer / Treatment / Recovery) | Circulation Pumps 3 Nos (Head 120M) with VFD PCW | Moves water between tanks, utilities, and building systems | Why industry needs it: - Water movement is required for cooling, treatment, and distribution - Keeps utilities running (cooling, RO/DI supply, building needs) - Prevents process interruptions due to low flow/pressure Analogy: A booster motor moving water through pipes. | Utilities – Mechanical (Water / Circulation) | Yes (pump motor energy, if metered) | Yes (status, flow/pressure if instrumented)
Water Systems (Transfer / Treatment / Recovery) | Circulation Pumps 2 Nos with VFD | Moves water between tanks, utilities, and building systems | Why industry needs it: - Water movement is required for cooling, treatment, and distribution - Keeps utilities running (cooling, RO/DI supply, building needs) - Prevents process interruptions due to low flow/pressure Analogy: A booster motor moving water through pipes. | Utilities – Mechanical (Water / Circulation) | Yes (pump motor energy, if metered) | Yes (status, flow/pressure if instrumented)
Scrubbers & EHS Systems | M/C 15 Scrubbers 11Nos | Scrubber system removing harmful fumes/particles from exhaust | Why industry needs it: - Protects worker health and the environment - Helps meet pollution-control regulations - Prevents production stoppage due to compliance issues Analogy: An air purifier for industrial exhaust. | Utilities – Mechanical (EHS / Pollution Control) | Yes (fans/pumps energy, if metered) | Yes (status, differential pressure, flow)